| Reporting Year | Equipment ID | Category | Equipment Type (AC/Chiller/Refrigerator) | Refrigerant Type (R22/R134a/R410A/etc.) | Refrigerant Refilled During Year (kg) | GWP of Refrigerant | Calculated Emissions in KgCO2e | Calculated Emissions in tCO2e |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2024-25 | AC-LAB-01 | HVAC Systems | Split AC | R-22, R-410A, R-32 | 220 | 1810, 2088, 675 |  |  |

Current calculation: Emissions = refrigerant refilled x GWP of refriger. / 1000

Eg. 220 x 1810 / 1000 = 398.2

Changed Needed:

Total Refrigerant Refilled = 220

R-22 = 95

R-410A = 70

R-32 = 55

Correct Emission Calculation:

- R-22 = 95 x 1810 = 171950 kgCO2e

- R-410A = 70 x 2088  = 146160 kgCO2e

- R-32= 55 x 675  = 37125 kgCO2e

Finally, 171950 + 146160 + 37125/ 1000 = 355. 235 tCO2e